## Sheet1
Yearly/Monthly Water Loss Report
Water Company:
Year:
| Water Produced this year/mo: |  |  |  | gallons
| Water Purchased this year/mo: |  |  |  | gallons
A: Total Water Produced and Purchased = |  |  |  | 0 | gallons
| Sold: | Residential |  |  | gallons
|  | Commercial |  |  | gallons
|  | Water Salesman |  |  | gallons
| Total Sold = |  |  | 0 | gallons
B: Difference: (Produced+Purchased) - Sold = |  |  |  | 0 | gallons
| % Difference = |  |  | #DIV/0! | % total water
loss
Gallons of Water Accounted For:
|  | Breaks (Estimated Total) |  |  | gallons
|  | Hydrant Flushing |  |  | gallons
|  | Storage Tank Overflow |  |  | gallons
|  | Water Treatment Plant Use |  |  | gallons
|  | Wastewater Treatment Plant Use |  |  | gallons
|  | Fire Department Use |  |  | gallons
|  | Net Computer Adjustment + / - |  |  | gallons
|  | Other |  |  | gallons
C: Total Gallons Accounted For = |  |  |  | 0 | gallons
| Loss: Unaccounted-for Water: (B-C) = |  |  | 0 | gallons
| % Loss: Unaccounted-for Water: (B-C)/A %= |  |  | #DIV/0! | % unaccounted
- for loss
days
| Gallons / Day Loss = |  |  | #DIV/0! | gallons/day
| Gallons / Minute Loss = |  |  | #DIV/0! | gallons/min.
| Water Rate = |  |  | #DIV/0! | dollars/day
| Dollars/Month= |  |  | #DIV/0! | dollars/month
| Dollars/ Year = |  |  | #DIV/0! | dollars/year